## Deficiency Report
AMERICAN PLAN REVIEW
| Project Name & Address | 1345 Connecticut Ave NW
| Codes in Effect | 2017 IBC Series
| Jurisdiction | Washington D.C.
| Plan Reviewer | Yue Cao, MCP, P.E.
Construction Type
| Occupancy Type | B ?
| TPR Number | TPR-03132018
# | Initial Review Comment | Client Response | Page Number | Second Review Comment | Client Response
1 | Provide a detailed narrative of the proposed work. If the tenent fitout occupied the entire building. Or it's a couple of different tenent fitout space.
2 | From the floor plan it seems to be an Group A assembly not gourp B office with over 500 occupant load. (IBC chapter 3) Provide Constructon Type
3 | Confirm if the occupant load/use classification triggers a Voice Evacuation requirement under DC Code.
4 | All annunciator devices show in graphic annunciator schedule was not observed in floor plans. ()
5 | Provide a Sequence of Operation Matrix (Input/Output Matrix). Specifically, confirm if the Fire Alarm System will shunt (shut down) the power to the sound system/DJ equipment upon alarm activation, which is required for A-2 Nightclubs to ensure the fire alarm is audible (IBC 907.2.1.1)
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
23
23